# Weekly Electrical Wiring and Fire Safety Compliance Checklist

Project Information

Project Name: ___________________________ Location: ___________________________

Inspector Name: ___________________________   Inspection Date: __/__/__

Weather Conditions: ___________________________

1. Electrical Wiring Inspection

☐ Verify that all wiring is properly insulated and free from exposed or damaged wires.
☐ Ensure all extension cords are heavy-duty, grounded, and not frayed.
☐ Check for overloaded circuits and ensure distribution boards are properly labeled.
☐ Inspect temporary power sources to confirm they are compliant with regulations.
☐ Ensure ground fault circuit interrupters (GFCIs) are installed and operational.
☐ Confirm that electrical panels and breaker boxes are accessible and not obstructed.
☐ Examine all electrical connections for signs of overheating, corrosion, or loose terminals.

2. Fire Safety Compliance

☐ Ensure all fire extinguishers are charged, accessible, and properly labeled.
☐ Verify that all fire extinguishers are suitable for electrical fires (Class C extinguishers).
☐ Check fire alarm systems, smoke detectors, and emergency exit signage for functionality.
☐ Confirm that flammable materials are stored away from electrical equipment.
☐ Inspect welding and cutting areas for proper fire prevention measures.
☐ Ensure that emergency evacuation routes are clear and well-marked.
☐ Conduct a fire drill or briefing to ensure all workers are aware of emergency procedures.

3. Worker Training and Awareness

☐ Conduct weekly toolbox talks about electrical and fire safety hazards.
☐ Ensure that all workers handling electrical equipment are certified or trained.
☐ Reinforce fire prevention strategies and how to use extinguishers correctly.
☐ Make sure PPE (insulated gloves, rubber boots, fire-resistant clothing) is available and in good condition.
☐ Provide updated safety documentation and incident reporting procedures.

Additional Comments:

Inspector's Final Assessment

☐ Pass ☐ Fail (Corrective action required)

Next Scheduled Inspection: __/__/__

Inspector's Signature: ___________________________