## Sheet1
Structural Integrity Evaluation Checklist
This checklist is designed to guide you through a step-by-step process of evaluating the structural integrity of a building or infrastructure. It includes sections for documentation review, visual inspection, non-destructive testing (NDT) criteria, and monitoring equipment.
1. Documentation Review | · □ Acoustic Emission Monitoring (e.g., for active crack growth)
· □ Concrete Crushing Tests | · □ Ground Penetrating Radar (GPR) (e.g., for subsurface defects)
· □ Mix Design Analysis | · □ Rebound Hammer Test (e.g., for concrete strength)
· □ Previous Inspection Reports | · □ Infrared Thermography (e.g., for moisture detection, thermal anomalies)
· □ Maintenance Logs
· □ Construction Drawings | 4. Monitoring Tools
· □ Permits and Approvals | · □ Strain Gauges (e.g., for stress measurement)
· □ Material Certifications | · □ Displacement Sensors (e.g., for movement monitoring)
· □ Design Calculations | · □ Vibration Monitoring (e.g., for dynamic loads)
· □ Temperature Sensors (e.g., for thermal effects)
· □ Tiltmeters (e.g., for angular changes)
2. Visual Inspection | · □ Crack Monitors (e.g., for crack width measurement)
· □ Cracks and Deformations | · □ Load Cells (e.g., for load distribution analysis)
· □ Water Damage (e.g., stains, mold, efflorescence) | · □ Data Loggers (e.g., for continuous monitoring)
· □ Corrosion and Rust (e.g., rebar, metal components)
· □ Foundation Settlement (e.g., uneven floors, tilting) | 5. Additional Notes
· □ Joint and Connection Integrity (e.g., gaps, misalignment) | · □ Review Environmental Factors (e.g., seismic activity, weather conditions)
· □ Spalling or Delamination of Concrete | · □ Assess Compliance with Building Codes and Standards
· □ Drainage and Waterproofing Issues | · □ Document Findings and Recommendations
· □ Signs of Overloading (e.g., sagging beams, deflections) | · □ Schedule Follow-Up Inspections or Repairs
Non-Destructive Testing (NDT) Considerations
· □ Determine When to Move to NDT (e.g., based on visual findings)
· □ Ultrasonic Testing (e.g., for internal flaws, thickness measurement)
· □ Radiographic Testing (e.g., for weld integrity, internal cracks)
· □ Dye Penetrant Testing (e.g., for surface cracks)