## Checklist
3D Concrete Printing Interruption and Restart Inspection Checklist
Completed by: |  |  | Date:
See Instructions for guidance. Record results and notes in the shaded cells.
No. | Section | Check / Requirement | Result | Notes / Evidence
1 | Event identification | Affected wall/segment and layer/elevation are positively identified.
2 | Event identification | Stop time, reason for interruption and proposed restart time have been recorded.
3 | Process status | Actual downtime and material age have been checked against the qualified restart/open-time limits.
4 | Process status | Material, pump, nozzle and printing-system condition are suitable for the approved restart process.
5 | Interface condition | Exposed receiving-layer/interface condition is assessed for drying, contamination, damage or separation.
6 | Interface condition | Required interface cleaning or preparation follows the approved restart procedure.
7 | Interface condition | Any prescribed bonding treatment or replacement/repair action has the required technical authorization.
8 | Restart controls | Restart print file, toolpath position and nozzle datum/height are verified before extrusion resumes.
9 | Restart controls | Required reinforcement, embedded items and temporary stability measures remain acceptable after the stop.
10 | Release and evidence | Restart measurements, interface photographs and corrective actions are recorded against the event.
11 | Release and evidence | Where the interruption exceeds qualified limits, the required designer/engineer technical disposition has been obtained.
12 | Release and evidence | Applicable ITP hold/witness release has been recorded before restarting the affected work.

## Instructions
3D Concrete Printing Interruption and Restart Inspection Checklist
Use for one stoppage/restart event affecting a defined wall segment or layer. Record stop and restart times, location and cause in the event record. Assess the actual interruption duration and interface condition against the approved qualified restart procedure; never assume that roughening, wetting, or bonding agent alone makes a restart acceptable. Obtain the specified technical hold-point release before resumption. For the complete before/during/after inspection guidance and the other visit-specific checklists, read the Quollnet inspection guide: https://quollnet.com/article/3d-printed-concrete-inspection-checklist
Record Done, Not done or N/A. Use Notes / Evidence for observations and follow-up.
Project / Location: ____________________