## Sheet1
Generated file by QChecklists
https://quollnet.com/checklist
Life-Safety Systems Commissioning Inspection Checklist
Interactive checklist for inspecting life-safety systems. Commentable and exportable as PDF/Excel, ensuring compliance and safety.
Project:
| Filled by: |  | Date:
Sprinkler System Inspection
1 | Verify sprinkler head installation and positioning as per design plans.
2 | Check for leaks in the piping system using pressure tests.
3 | Ensure sprinkler activation and water flow performance are satisfactory.
Fire Door Inspection
4 | Confirm fire door closure mechanisms operate without obstructions.
5 | Inspect seals and gaskets for integrity and correct placement.
6 | Verify labels and certifications on fire doors and frames.
Emergency Lighting Inspection
7 | Test emergency lighting for immediate activation upon power failure.
8 | Check battery backup functionality and charge levels.
9 | Inspect lamp conditions and replace any faulty components.
Comments
Filled by:
Signature:
Introduction |  |  | How to use this checklist
Commissioning inspections for life-safety systems are crucial to ensure that systems like sprinklers, fire doors, and emergency lighting are installed correctly and function as intended. This checklist focuses on verifying the operational efficiency and compliance of these systems with safety standards. It includes step-by-step tasks to inspect the installation and performance of fire safety components, reducing the risk of system failures during emergencies. Users can interactively tick off items, add comments, and export their completed checklist in PDF or Excel formats, complete with a QR code for authenticity. |  |  | 1. Prepare necessary tools and documents, including design plans, testing equipment, and safety gear. 2. Click the 'Use this checklist' or 'Start Interactive Checklist' button to launch interactive mode. 3. Tick each item online as you complete it. 4. Add comments on individual items or the entire checklist. 5. Click 'Share' or 'Download' to download your completed checklist as PDF or Excel.