## Sheet1
Generated file by QChecklists
https://www.quollnet.com/checklist
Toilet and Bathroom Installation Inspection
Interactive checklist for inspecting toilet and bathroom installations; commentable, exportable as PDF/Excel, with QR code authentication.
Project:
| Filled by: |  | Date:
Plumbing Inspection
1 | Check for leaks in all visible plumbing connections using a flashlight.
2 | Ensure all shut-off valves are functional and accessible.
3 | Test water pressure from all faucets and showerheads.
Fixture Stability
4 | Ensure toilet is securely fastened to the floor with no movement.
5 | Verify that sinks and vanities are stable and properly aligned.
6 | Check that mirrors and shelves are securely mounted.
Functionality Check
7 | Flush each toilet multiple times to ensure proper operation.
8 | Run taps and showers to check for proper drainage and flow.
9 | Test GFCI outlets for correct operation using the test button.
Safety and Compliance
10 | Check that all electrical installations are compliant with local codes.
11 | Ensure all glass items are safety glass and free from damage.
12 | Verify that all ventilation systems are operational.
Comments
Filled by:
Signature:
Introduction |  |  | How to use this checklist
Inspecting toilet and bathroom items after installation is crucial for ensuring that everything functions correctly and safely. This checklist covers all key aspects from plumbing integrity to fixture stability, ensuring compliance with quality standards and safety regulations. Proper inspection helps avoid leaks, water damage, and other costly repairs. Use this interactive checklist to track progress, make notes, and export your findings as a PDF or Excel document with a unique QR code for verification. |  |  | 1. Click the “Use this checklist” button to launch interactive mode. 2. Tick each item online as you complete it. 3. Add comments on individual items or the entire form for observations or issues. 4. Click Share or Download to download your completed checklist as PDF or Excel. 5. Scan the QR code in the exported report to verify authenticity.