## Sheet1
Generated file by QChecklists
https://quollnet.com/checklist
Project:
| Filled by: |  | Date:
Visual Inspection
1 | Check for visible leaks or damage to AC unit.
Airflow Check
2 | Ensure air vents are unobstructed and open.
Filter Inspection
3 | Inspect and replace dirty air filters.
Thermostat Function
4 | Verify thermostat accuracy and proper operation.
Electrical Connections
5 | Tighten any loose electrical connections.
Refrigerant Levels
6 | Ensure refrigerant levels are adequate and no leakage.
Fan Operation
7 | Check that fan motor runs smoothly without noise.
Drain Line Condition
8 | Clear any blockages from condensate drain line.
Condenser Coil Check
9 | Clean condenser coils to improve efficiency.
Evaporator Coil Check
10 | Inspect evaporator coil for ice buildup.
Compressor Function
11 | Test compressor function and efficiency.
Blower Component Test
12 | Ensure blower motor is operational and balanced.
Ductwork Assessment
13 | Inspect ductwork for leaks or damage.
Noise Inspection
14 | Listen for unusual noises during operation.
Comments
Filled by:
Signature:
Introduction |  |  | How to use this checklist
Detailed checklist for addressing and resolving air conditioning system issues to ensure effective cooling.